## Solar
Annex No. 1 (Solar)
Information about the Applicant |  | General information
Qualification criteria |  | Criteria that will indicate the fulfillment of the qualification which is required to carry out further evaluation
Project criteria |  | Criteria that will be taken into account in the evaluation process
Category | Condition and its explanation | Input field | Explanation of the input field
Information about the Applicant and the Project
Contact information
| Company name, reg. no., company representative, telephone, e-mail, legal address. |  | Fill in the input field according to the explanation of the condition.
Name of the Project
| Name of the Project. |  | Fill in the input field according to the explanation of the condition.
Description of the Project
| Project implementation schedule, project location, cadastral designations of the developed land units, attachment - project master plan or similar visual presentation material. |  | Fill in the input field according to the explanation of the condition and provide an attachment.
The type of power plants of the project and the expected capacity.
| Sun Power Plant (SPP), expected power (mW). |  | Fill in the input field according to the explanation of the condition.
Description of previous experience in the development of renewable energy resources projects.
| Indicate whether the Applicant or any legal entity within its group has previous experience in the development of wind power station (WPS) and/or solar power plant (SPP) projects in Latvia or abroad. |  | Fill in the input field according to the explanation of the condition.
Qualification of the Applicant | Permits from the Ministry of Economics (EM) or the Ministry of Climate and Energy (KEM) for the Project.
| The Applicant has the permits from the Ministry of Economy or the Ministry of Climate and Energy for the implementation of electricity generation facilities. |  | Specifying a yes / no answer (confirmation).
Technical requirements for developing grid connection line
| Technical requirements have been received. |  | Specifying a yes / no answer (confirmation).
| Implementation deadline of technical requirements. |  | Fill in the input field according to the explanation of the condition.
The Applicant has not been punished for criminal offences
| The Applicant or a person who is a member of the Applicant's board or council, a representative person, a proxy, or a person authorized to represent the Applicant in actions related to the branch, with such prosecutor's record of punishment or court judgment that has entered into force and become final and irrevocable, has not been found guilty and has not been subject to coercive measures for any of the criminal offences listed in the clause 17. |  | Specifying a yes / no answer (confirmation).
No sanctions have been applied to the Applicant
| The Applicant or a person who is a member of the Applicant's board or council, a legally authorized person, a procurator, or a person authorized to represent the Applicant in actions related to a branch, is not subject to international or national sanctions or significant European Union or NATO member state sanctions affecting financial and capital market interests. |  | Specifying a yes / no answer (confirmation).
The Applicant is not registered in a low-tax or tax-free country and is not a shareholder of a legal entity registered in a low-tax or tax-free country.
| The Applicant is not a legal entity or association of persons registered in a low-tax or tax-free jurisdiction or territory. The owner or holder of capital shares or stocks in the Applicant, owning more than 25 percent of the Applicant's capital shares, is not a legal entity or association of persons registered in a low-tax or tax-free jurisdiction or territory. |  | Specifying a yes / no answer (confirmation).
The Applicant has no tax and social payment debts that exceed EUR 150.00
| The Applicant does not have any outstanding tax and state social insurance payment debts exceeding EUR 150.00 in total. |  | Specifying a yes / no answer (confirmation).
Information about the Project | Geotechnical investigation | `
| Geotechnical investigation Good soil - Soil deformation modulus Eeod > 12 MPa. Medium soil - Soil deformation modulus 8 MPa < Eeod <= 12 MPa. Weak soil - Soil deformation modulus Eeod <= 8 MPa." |  | Indicating (confirming) with 'Yes' or 'No' whether geotechnical investigation has been conducted. If geotechnical investigation has been conducted, fill in the cell with 'good,' 'medium,' or 'weak' soil, according to the criteria description.
Preliminary environmental study
| Report from a habitat expert. |  | Specifying a yes / no answer (confirmation).
Initial Environmental Evaluation (IEE) is required.
| IEE has not been initiated. |  | Specifying a yes / no answer (confirmation).
| IEE has been initiated, indicating the initiation date. |  | Fill in the input field according to the explanation of the condition.
| IEE result - Environmental Impact Assessment (EIA) applicable or not applicable. |  | Fill in the input field according to the explanation of the condition.
Environmental impact assessment (EIA) is required.
| EIA has not been initiated. |  | Specifying a yes / no answer (confirmation).
| EIA has been initiated, indicate the initiation date. |  | Fill in the input field according to the explanation of the condition.
| EIA has been accepted, indicate the intiation date. |  | Fill in the input field according to the explanation of the condition.
Construction authorizations
| Regulations/authorizations of other affected utility holders. |  | Specifying a yes / no answer (confirmation).
Property and/or construction rights
| Property rights to the construction land. |  | Fill in the input field according to the explanation of the condition.
| Construction rights on public land, indicate the duration. |  | Fill in the input field according to the explanation of the condition.
| Construction rights on private land, indicate the duration. |  | Fill in the input field according to the explanation of the condition.
| If construction is planned on various legal bases, provide information about the structure. |  | Fill in the input field according to the explanation of the condition.
| Rental fee for construction rights. Specify amount, EUR/ha. |  | Specifying a yes / no answer (confirmation).
Access to the facility and road network
| Access to the facilities is ensured from the municipal road or road servitude agreements have been concluded. |  | Specifying a yes / no answer (confirmation).
| Length of the internal road network in meters. |  | Fill in the input field according to the explanation of the condition.
Grid connection line construction
| Coordinated construction of the connection line with landowners. |  | Specifying a yes / no answer (confirmation).
| Contract for the development of the grid connection line construction project has been concluded. |  | Specifying a yes / no answer (confirmation).
| Building permit with design conditions has been received. |  | Specifying a yes / no answer (confirmation).
| The statutory deadline for challenging the building permit has passed. |  | Specifying a yes / no answer (confirmation).
| Topography report has been developed. |  | Specifying a yes / no answer (confirmation).
| Construction project has been developed. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of design conditions. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of construction commencement conditions. |  | Specifying a yes / no answer (confirmation).
| The grid connection line is a cable line or an overhead line. |  | Fill in the input field according to the explanation of the condition.
| Total length of the gird connection line in meters. |  | Fill in the input field according to the explanation of the condition.
| Voltage of the grid connection line in kV. |  | Fill in the input field according to the explanation of the condition.
| Contracts for the construction of the grid connection line have been concluded. |  | Fill in the input field according to the explanation of the condition.
Grid connection construction
| For connection to the AS Augstsprieguma Tīkls (AST) - separated land units on which the AST substation will be built or an agreement on construction rights has been concluded, in which the AST is the holder of construction rights, a contract with the AST for the execution of construction works has been concluded; |  | Specifying a yes / no / not applicable answer (confirmation).
| Contract for the development of the construction project has been concluded. |  | Specifying a yes / no answer (confirmation).
| Building permit with design conditions has been received. |  | Specifying a yes / no answer (confirmation).
| The statutory deadline for challenging the building permit has passed. |  | Specifying a yes / no answer (confirmation).
| Topography report has been developed. |  | Specifying a yes / no answer (confirmation).
| Construction project has been developed. |  | Specifying a yes / no answer (confirmation).
| For connection to the AST - a contract for the expertise of the connection project has been concluded. |  | Specifying a yes / no / not applicable answer (confirmation).
| For connection to the AST - a positive expert opinion on the connection construction project. |  | Specifying a yes / no / not applicable answer (confirmation).
| Building permit includes a note on the fulfillment of design conditions. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of construction commencement conditions. |  | Specifying a yes / no answer (confirmation).
| Contracts for the construction of the substation have been concluded, which have been coordinated with AST or a contract with the AST or Sadales Tīkls (ST) for connection construction has been concluded. |  | Specifying a yes / no answer (confirmation).
| If 3rd category construction works are implemented, contracts for construction supervision have been concluded. |  | If 3rd group construction works are not implemented ("No"). If 3rd group construction works are implemented but construction supervision agreements are not concluded ("Yes, no construction supervision agreements"). If 3rd group construction works are implemented and construction supervision agreements are concluded ("Yes, there are construction supervision agreements").
Sun Power Pant (SPP) construction
If the entire construction process is planned to be implemented in parts, i.e. by performing multiple construction processes, then construction projects for all construction processes must be developed and coordinated.
| Contract for the development of the construction project has been concluded. |  | Specifying a yes / no answer (confirmation).
| Building permit with design conditions has been received. |  | Specifying a yes / no answer (confirmation).
| The statutory deadline for challenging the building permit has passed. |  | Specifying a yes / no answer (confirmation).
| Topography report has been developed. |  | Specifying a yes / no answer (confirmation).
| Construction project has been developed. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of design conditions. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of construction commencement conditions. |  | Specifying a yes / no answer (confirmation).
| Conducted research on delivery logistics, determined delivery routes, and identified restrictions. |  | Specifying a yes / no answer (confirmation).
| Contracts for equipment delivery have been concluded. |  | Specifying a yes / no answer (confirmation).
| Contracts for construction works have been concluded. |  | Specifying a yes / no answer (confirmation).
| Contracts for construction supervision have been concluded. |  | Specifying a yes / no answer (confirmation).
| Construction insurance policies. |  | Specifying a yes / no answer (confirmation).
Construction work status
| If the construction works have started, provide a description of the construction status (free form). |  | Fill in the input field according to the explanation of the condition.
Put into operation
| If the Project has been put into operation, indicate the date of commencement of operation. |  | Fill in the input field according to the explanation of the condition.
Statement of absence of disputes and/or litigation related to Project development
| There are no disputes or litigation in accordance with the procedures specified in the Civil Procedure Law, Administrative Procedure Law, or Criminal Procedure Law. |  | Specifying a yes / no answer (confirmation).
| If there are disputes or litigation, provide a description in free form of the disputes or litigation. |  | Fill in the input field according to the explanation of the condition.
Expected Project selling price
| The expected selling price at which the construction project developer (the Applicant) would be willing to enter into a sales transaction. |  | Fill in the input field according to the explanation of the condition.

## Wind & Hybrid
Annex No. 1 (Solar)
Information about the Applicant |  | General information
Qualification criteria |  | Criteria that will indicate the fulfillment of the qualification which is required to carry out further evaluation
Project criteria |  | Criteria that will be taken into account in the evaluation process
Category | Condition and its explanation | Input field | Explanation of the input field
Information about the Applicant and the Project
Contact information
| Company name, reg. no., company representative, telephone, e-mail, legal address. |  | Fill in the input field according to the explanation of the condition.
Name of the Project
| Name of the Project. |  | Fill in the input field according to the explanation of the condition.
Description of the Project
| Project implementation schedule, project location, cadastral designations of the developed land units, attachment - project master plan or similar visual presentation material. |  | Fill in the input field according to the explanation of the condition and provide an attachment.
The type of power plants of the Project and the expected capacity
| Wind power plant or hybrid power plant, expected power (mW). |  | Fill in the input field according to the explanation of the condition.
Description of previous experience in the development of renewable energy resources projects.
| Indicate whether the Applicant or any legal entity within its group has previous experience in the development of wind power station (WPS) and/or solar power plant (SPP) projects in Latvia or abroad. |  | Fill in the input field according to the explanation of the condition.
Qualification of the Applicant | Permits from the Ministry of Economics (EM) or the Ministry of Climate and Energy (KEM) for the Project.
| The Applicant has the permits from the Ministry of Economy or the Ministry of Climate and Energy for the implementation of electricity generation facilities. |  | Specifying a yes / no answer (confirmation).
Technical requirements for developing grid connection line
| Technical requirements have been received. |  | Specifying a yes / no answer (confirmation).
| Implementation deadline of technical requirements. |  | Fill in the input field according to the explanation of the condition.
The Applicant has not been punished for criminal offences
| The Applicant or a person who is a member of the Applicant's board or council, a representative person, a proxy, or a person authorized to represent the Applicant in actions related to the branch, with such prosecutor's record of punishment or court judgment that has entered into force and become final and irrevocable, has not been found guilty and has not been subject to coercive measures for any of the criminal offences listed in the clause 17. |  | Specifying a yes / no answer (confirmation).
No sanctions have been applied to the Applicant
| The Applicant or a person who is a member of the Applicant's board or council, a legally authorized person, a procurator, or a person authorized to represent the Applicant in actions related to a branch, is not subject to international or national sanctions or significant European Union or NATO member state sanctions affecting financial and capital market interests. |  | Specifying a yes / no answer (confirmation).
The Applicant is not registered in a low-tax or tax-free country and is not a shareholder of a legal entity registered in a low-tax or tax-free country.
| The Applicant cannot be a legal entity or association of persons registered in a low-tax or tax-free jurisdiction or territory. The owner or holder of capital shares or stocks in the Applicant, owning more than 25 percent of the Applicant's capital shares, cannot be a legal entity or association of persons registered in a low-tax or tax-free jurisdiction or territory. |  | Specifying a yes / no answer (confirmation).
The Applicant has no tax and social payment debts that exceed EUR 150.00
| The Applicant does not have any outstanding tax and state social insurance payment debts exceeding EUR 150.00 in total. |  | Specifying a yes / no answer (confirmation).
Information about the Project | Geotechnical investigation has been conducted. | `
| Preliminary geotechnical investigation. |  | Specifying a yes / no answer (confirmation).
| Detailed geotechnical investigation. |  | Specifying a yes / no answer (confirmation).
| Number of boreholes per hectares in the building zone. |  | Fill in the input field according to the explanation of the condition.
Preliminary environmental study.
| Report from an ornithologist (bird species expert). |  | Specifying a yes / no answer (confirmation).
| Report from a chiropterologist (bat species expert). |  | Specifying a yes / no answer (confirmation).
| Report from a habitat expert. |  | Specifying a yes / no answer (confirmation).
| Noise level assessment. |  | Specifying a yes / no answer (confirmation).
Compliance of the Project with the criteria of the simplified procedure law.
| The Project complies with the criterion specified in Section 3, Paragraph 1 of the Law on the Facilitated Procedures for the Construction of the Energy Supply Buildings Required for the Promotion of Energy Security and Autonomy. |  | Specifying a yes / no answer (confirmation).
Initial Environmental Evaluation (IEE) is required.
| IEE has not been initiated. |  | Specifying a yes / no answer (confirmation).
| IEE has been initiated, indicate the initiation date. |  | Fill in the input field according to the explanation of the condition.
| IEE result - Environmental Impact Assessment (EIA) applicable or not applicable. |  | Fill in the input field according to the explanation of the condition.
Environmental impact assessment (EIA) is required.
| EIA has not been initiated. |  | Specifying a yes / no answer (confirmation).
| EIA has been initiated, indicate the initiation date. |  | Fill in the input field according to the explanation of the condition.
| EIA has been accepted, indicate the initiation date. |  | Fill in the input field according to the explanation of the condition.
Wind speed measurements.
| Wind speed measurements not initiated, initiated, completed. |  | Fill in the input field according to the explanation of the condition.
| Period of wind speed measurements. |  | Fill in the input field according to the explanation of the condition.
| Wind speed measurements verified by a third party. |  | Specifying a yes / no answer (confirmation).
Construction authorizations
| Regulations/authorizations/requirements from the Ministry of Defense. |  | Fill in the input field according to the explanation of the condition.
| Regulations/authorizations/requirements of Latvian Air Traffic Control Centre. |  | Fill in the input field according to the explanation of the condition.
| Regulations/authorizations/requirements of the Civil Aviation Agency. |  | Fill in the input field according to the explanation of the condition.
| Regulations/authorizations/requirements of other affected utility holders. |  | Fill in the input field according to the explanation of the condition.
Compliance with the local government construction plans
| The Project complies with the requirements of the current local government territorial plan. |  | Specifying a yes / no answer (confirmation).
Creating the local development plan
| If the Project does not comply with the requirements of the local government territorial development plan, indicate the stage of the local development plan - not initiated, initiated, approved, applicable. |  | Fill in the input field according to the explanation of the condition.
Creating a detailed local development plan
| If detailed local development planning is required for the implementation of the Project, indicate the stage of the local detailed development plan - not initiated, initiated, approved. |  | Fill in the input field according to the explanation of the condition.
Property and/or construction rights
| Property rights to the construction land. |  | Fill in the input field according to the explanation of the condition.
| Construction rights on public land, indicating the duration. |  | Fill in the input field according to the explanation of the condition.
| Construction rights on private land, indicating the duration. |  | Fill in the input field according to the explanation of the condition.
| If construction is planned on various legal bases, provide information about the structure. |  | Fill in the input field according to the explanation of the condition.
| In case easements for utility constructions are required, provide a confirmation that they have been concluded. |  | Specifying a yes / no answer (confirmation).
| Rental fee for construction rights. Specify one - EUR/ha, % of turnover, EUR per MW, EUR per turbine. |  | Fill in the input field according to the explanation of the condition.
Access to the facility and road network
| Access to the facilities is ensured from the municipal road or road servitude agreements have been concluded. |  | Specifying a yes / no answer (confirmation).
| Length of the internal road network in meters. |  | Fill in the input field according to the explanation of the condition.
Grid connection line construction
| Coordinated construction of the connection line with landowners. |  | Specifying a yes / no answer (confirmation).
| Contract for the development of the grid connection line construction project has been concluded. |  | Specifying a yes / no answer (confirmation).
| Building permit with design conditions has been received. |  | Specifying a yes / no answer (confirmation).
| The statutory deadline for challenging the building permit has passed. |  | Specifying a yes / no answer (confirmation).
| Topography report has been developed. |  | Specifying a yes / no answer (confirmation).
| Construction project has been developed. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of design conditions. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of construction commencement conditions. |  | Specifying a yes / no answer (confirmation).
| The grid connection line is a cable line or an overhead line. |  | Fill in the input field according to the explanation of the condition.
| Total length of the gird connection line in meters. |  | Fill in the input field according to the explanation of the condition.
| Voltage of the grid connection line in kV. |  | Fill in the input field according to the explanation of the condition.
| Contracts for the construction of the grid connection line have been concluded. |  | Fill in the input field according to the explanation of the condition.
Grid connection construction
| For connection to the AS Augstsprieguma Tīkls (AST) - separated land units on which the AST substation will be built or an agreement on construction rights has been concluded, in which the AST is the holder of construction rights, a contract with the AST for the execution of construction works has been concluded; |  | Specifying a yes / no / not applicable answer (confirmation).
| Contract for the development of the construction project has been concluded. |  | Specifying a yes / no answer (confirmation).
| Building permit with design conditions has been received. |  | Specifying a yes / no answer (confirmation).
| The statutory deadline for challenging the building permit has passed. |  | Specifying a yes / no answer (confirmation).
| Topography report has been developed. |  | Specifying a yes / no answer (confirmation).
| Construction project has been developed. |  | Specifying a yes / no answer (confirmation).
| For connection to the AST - a contract for the expertise of the connection project has been concluded. |  | Specifying a yes / no / not applicable answer (confirmation).
| For connection to the AST - a positive expert opinion on the connection construction project. |  | Specifying a yes / no / not applicable answer (confirmation).
| Building permit includes a note on the fulfillment of design conditions. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of construction commencement conditions. |  | Specifying a yes / no answer (confirmation).
| Contracts for the construction of the substation have been concluded, which have been coordinated with AST or a contract with the AST or Sadales Tīkls (ST) for connection construction has been concluded. |  | Specifying a yes / no answer (confirmation).
| If 3rd category construction works are implemented, contracts for construction supervision have been concluded. |  | If 3rd group construction works are not implemented ("No"). If 3rd group construction works are implemented but construction supervision agreements are not concluded ("Yes, no construction supervision agreements"). If 3rd group construction works are implemented and construction supervision agreements are concluded ("Yes, there are construction supervision agreements").
Wind Power Station (WPS) construction
If the entire construction process is planned to be implemented in parts, i.e. by performing multiple construction processes, then construction projects for all construction processes must be developed and coordinated.
| Contract for the development of the construction project has been concluded. |  | Specifying a yes / no answer (confirmation).
| Building permit with design conditions has been received. |  | Specifying a yes / no answer (confirmation).
| The statutory deadline for challenging the building permit has passed. |  | Specifying a yes / no answer (confirmation).
| Topography report has been developed. |  | Specifying a yes / no answer (confirmation).
| Construction project has been developed. |  | Specifying a yes / no answer (confirmation).
| Contract for Project expertise. |  | Specifying a yes / no answer (confirmation).
| Positive expert opinion on the construction project. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of design conditions. |  | Specifying a yes / no answer (confirmation).
| Building permit includes a note on the fulfillment of construction commencement conditions. |  | Specifying a yes / no answer (confirmation).
| Conducted research on delivery logistics, determined delivery routes, and identified restrictions. |  | Specifying a yes / no answer (confirmation).
| Contracts for equipment delivery have been concluded. |  | Specifying a yes / no answer (confirmation).
| Contracts for construction works have been concluded. |  | Specifying a yes / no answer (confirmation).
| Contracts for construction supervision have been concluded. |  | Specifying a yes / no answer (confirmation).
| Contracts for construction management have been concluded. |  | Specifying a yes / no answer (confirmation).
| Construction insurance policies. |  | Specifying a yes / no answer (confirmation).
| Contracts for wind power station maintenance have been concluded. |  | Specifying a yes / no answer (confirmation).
Construction work status
| If the construction works have started, provide a description of the construction status (free form). |  | Fill in the input field according to the explanation of the condition.
Put into operation
| If the Project has been put into operation, indicate the date of commencement of operation. |  | Fill in the input field according to the explanation of the condition.
Statement of absence of disputes and/or litigation related to Project development
| There are no disputes or litigation in accordance with the procedures specified in the Civil Procedure Law, Administrative Procedure Law, or Criminal Procedure Law. |  | Specifying a yes / no answer (confirmation).
| If there are disputes or litigation, provide a description in free form of the disputes or litigation. |  | Fill in the input field according to the explanation of the condition.
Expected Project selling price
| The expected selling price at which the construction Project developer (the Applicant) would be willing to enter into a sales transaction. |  | Fill in the input field according to the explanation of the condition.